## F 111-Results CABLE
PT identification: | PT/CABLE M/2022 |  |  |  | Customer ID: (indicated on the sample)
|  |  | Insulation | Decimal places | Sample | Measurement |  |  |  |  | Unit
[6 empty] | 1 | 2 | 3 | 4 | 5
Minimum thickness |  | tm | SE | 2 | A |  |  |  | — | — | mm
Mean thickness |  |  | SE | 2 | A |  |  |  | — | — | mm
Overall diameter |  | Ø | SE | 1 | A |  |  |  | — | — | mm
Thermal stability |  | tts | SE | whole number | A |  |  |  | — | — | min
Loss of mass |  | ∆m | SE | 2 | A |  |  |  | — | — | mg/cm2
Tensile strength - tubular |  | Rm | SE | 2 | A | [5 empty] | MPa
Elongation at break - tubular |  | A | SE | 2 | A | [5 empty] | %
Tensile strength - dumb-bell |  | Rm | — | 2 | D | [5 empty] | MPa
Elongation at break - dumb-bell |  | A | — | 2 | D | [5 empty] | %
Shrinkage |  | ∆L | CR1 | 2 | B |  | — | — | — | — | mm
Shrinkage |  | ∆L | CR2 | 2 | B |  | — | — | — | — | mm
Shrinkage |  | ∆L | CR3 | 2 | B |  | — | — | — | — | mm
Shrinkage |  | ∆L | CR4 | 2 | B |  | — | — | — | — | mm
Elongation under load |  |  | ZZ | 1 | C |  |  | — | — | — | %
Elongation under load |  |  | HA | 1 | C |  |  | — | — | — | %
Elongation under load |  |  | CR | 1 | C |  |  | — | — | — | %
Elongation under load |  |  | SE | 1 | C |  |  | — | — | — | %
Residual elongation |  |  | ZZ | 1 | C |  |  | — | — | — | %
Residual elongation |  |  | HA | 1 | C |  |  | — | — | — | %
Residual elongation |  |  | CR | 1 | C |  |  | — | — | — | %
Residual elongation |  |  | SE | 1 | C |  |  | — | — | — | %
Depth of indentation |  | M | SE | 2 | A |  |  |  | — | — | %
Bending test at low temperature |  |  | SE | — | A |  |  | — | — | (cracks / no cracks)
Heat shock test |  |  | SE | — | A |  |  | — | — | (cracks / no cracks)
In: |  |  |  | Name: |  |  |  |  | Stamp:
Date: |  |  |  | Signature:

## F 112-Additional info CABLE
PT identification: | PT/CABLE M/2022 |  | Customer ID: (indicated on the sample)
Minimum and mean thickness | Used equipment
Physical calibration
Measurement uncertainty
Overall diameter | Used equipment
Physical calibration
Measurement uncertainty
Thermal stability | Used equipment
Physical calibration
Measurement uncertainty
Loss of mass | Used equipment
Physical calibration
Measurement uncertainty
Tensile strength | Used equipment
Physical calibration
Measurement uncertainty
Elongation at break | Used equipment
Physical calibration
Measurement uncertainty
Shrinkage | Used equipment
Physical calibration
Measurement uncertainty
Elongation under load and residual elongation | Used equipment
Physical calibration
Measurement uncertainty
Depth of indentation | Used equipment
Physical calibration
Measurement uncertainty
Bending test at low temperature | Used equipment
Physical calibration
Measurement uncertainty
Heat shock test | Used equipment
Physical calibration
Measurement uncertainty
Comments
In: |  | Name: |  | Stamp:
Date: |  | Signature:
Checked in SZZ. ……............................. |  |  |  | Date: …..............................